## Abstract Total BOQ(Infra Stru)
Anexure-A
ABSTRACT OF DIVISIONWISE QUANTITY OF ITEMS
Sl no. | Name of materials |  | Division wise quantity of Materials
|  |  | Balasore Circle |  |  |  |  | Bhadrak Circle |  | Jajpur Circle |  |  | Keonjhar Circle |  |  | Baripada Circle
|  | Unit | BED Balasore | BtED Basta | CED Balasore | JED Jaleswar | SED Soro | BNED Bhadrak | BSED Bhadrak | JRED Jajpur | JTED Jajpur | KuED Kuakhia | AED Anandapur | JoED Joda | KED Keonjhar | BpED Baripada | RED Rairangpur | UED Udala | Total BOQ Qty
A | Service Connection Kit
1 | Each Service connection kit with following items i)Service cable(4 sq. mm twin core PVC Al. Wire - 25 Mtr ) ii) 10 SWG G.I. supporting Wire (75 gm/Mtr) (Insulated)- 25 Mtr. iii)Porceiline Spool - 02 nos. , Link Clip - 10 nos. iv) GI Bend Pipe (bracket) 20 mm dia.(NB) 2.8 Mtr.long - 1 no. | Set | 563 | 5296 | 1521 | 1551 | 2763 | 3087 | 1696 | 778 | 47 | 463 | 619 | 1548 | 3085 | 7819 | 11168 | 4992 | 46996
2 | House Wiring Materials for each HH i) Miniature Circuit Breaker 16A-2 nos, ii)4 x 4"Wooden/PVC Board-1no, iii)8"x 6"Wooden/PVC Board-1 no, iv)1.5 sq mm Copper Multi Standard PVC Insulated Wire(10 x 2) wiring with PVC pipe-6meter, v)Switch(5 A)-2 nos,3 Pin Plug(5 A)-1 no, vi)Wooden/PVC Round Board-1 no, vii)Angle Holder-1no,M.Seal-1 no,Plastic Clip-12nos,Nail-10 nos, M.Seal-1 no. | Set | 563 | 5296 | 1521 | 1551 | 2763 | 3087 | 1696 | 778 | 47 | 463 | 619 | 1548 | 3085 | 7819 | 11168 | 4992 | 46996
3 | 1 PH Meter with T.P. Box(10-60)-1 no & meter seal-2 nos) | Set | 563 | 5296 | 1521 | 1551 | 2763 | 3087 | 1696 | 778 | 47 | 463 | 619 | 1548 | 3085 | 7819 | 11168 | 4992 | 46996
4 | LED Lamp 9 W- 1 no. | No | 563 | 5296 | 1521 | 1551 | 2763 | 3087 | 1696 | 778 | 47 | 463 | 619 | 1548 | 3085 | 7819 | 11168 | 4992 | 46996
5 | Earthing(Coil Earthing-1no & Insulated G.I. Wire-400gm/earthing) | No | 563 | 5296 | 1521 | 1551 | 2763 | 3087 | 1696 | 778 | 47 | 463 | 619 | 1548 | 3085 | 7819 | 11168 | 4992 | 46996
0
B | Line & Sub-station Items for strengthening of infrastructure | [17 empty] | 0
1 | 100 KVA,11/0.4KV( Al) BIS Energy Level -II | No. |  | 1 |  | 1 |  | 1 | [10 empty] | 3
2 | 100 mm2 AAA conductor | KM | 4.1097 | 26.2588 | 1.0815 | 3.2445 |  | 28.428 | 4.944 | 2.472 |  | 0.618 | 23.793 | 27.5628 |  | 17.7675 | 24.6582 | 15.1101 | 180.0481
3 | 100*50*6 mm MS channel-GI | Kg | 534 | 5636 | 343 | 509 |  | 4138 | 973 | 383 |  | 122 | 1926 | 2761 | 104 | 2794 | 3615 | 1991 | 25829
4 | 11 KV V cross Arm -GI | No. | 23 | 145 | 6 | 18 |  | 157 | 28 | 14 |  | 4 | 131 | 152 |  | 98 | 136 | 84 | 996
5 | 11kv AB Switch 3 pole (200Amp) | set | 4 | 47 | 3 | 4 |  | 32 | 8 | 3 |  | 1 | 12 | 19 | 1 | 22 | 28 | 15 | 199
6 | 11KV Disc insulator (T&C)45 KN polymer | No. | 32 | 204 | 9 | 26 |  | 221 | 39 | 20 |  | 5 | 185 | 215 |  | 138 | 192 | 118 | 1404
7 | 11KV F Clamp-GI | No. | 23 | 145 | 6 | 18 |  | 157 | 28 | 14 |  | 4 | 131 | 152 |  | 98 | 136 | 84 | 996
8 | 11KV H W fitting(T&C)45KN | Set | 32 | 204 | 9 | 26 |  | 221 | 39 | 20 |  | 5 | 185 | 215 |  | 138 | 192 | 118 | 1404
9 | 11KV HG Fuse 3 pole(200 Amp) | No. | 4 | 47 | 3 | 4 |  | 32 | 8 | 3 |  | 1 | 12 | 19 | 1 | 22 | 28 | 15 | 199
10 | 11KV LA 12KV-10KA | No. | 12 | 141 | 9 | 12 |  | 96 | 24 | 9 |  | 3 | 36 | 57 | 3 | 66 | 84 | 45 | 597
11 | 11kv Pin Insulator (Polymer) | No. | 76 | 485 | 20 | 60 |  | 525 | 92 | 46 |  | 12 | 439 | 509 |  | 328 | 455 | 279 | 3326
12 | 11mtr 150x150mm RS Joist | No. | 8 | 94 | 6 | 8 |  | 64 | 16 | 6 |  | 2 | 24 | 38 | 2 | 44 | 56 | 30 | 398
13 | 25KVA,11/0.4KV( Al) BIS Energy Level -II | No. |  | 32 | 3 | 3 |  | 21 | 4 | 3 |  |  | 11 | 14 | 1 | 17 | 16 | 12 | 137
14 | 25x5mm GI Flat for neutral earthing | Kg. | 80 | 940 | 60 | 80 |  | 640 | 160 | 60 |  | 20 | 240 | 380 | 20 | 440 | 560 | 300 | 3980
15 | 4C x185mm2 XLPE Cable | Mtr | 60 | 705 | 45 | 60 |  | 480 | 120 | 45 |  | 15 | 180 | 285 | 15 | 330 | 420 | 225 | 2985
16 | 300KG 9mtr long PSC pole | No. | 188 | 2856 | 207 | 414 | 575 | 1166 | 452 | 316 | 46 | 345 | 529 | 758 | 116 | 3243 | 1994 | 1441 | 14646
17 | 50*50*6 mm MS Angle-GI | Kg | 266 | 2874 | 177 | 256 |  | 2073 | 495 | 193 |  | 62 | 922 | 1349 | 55 | 1406 | 1812 | 992 | 12932
18 | 55mm2 AAA conductor (Sub station jumpering) | Km | 0.16 | 1.88 | 0.12 | 0.16 |  | 1.28 | 0.32 | 0.12 |  | 0.04 | 0.48 | 0.76 | 0.04 | 0.88 | 1.12 | 0.6 | 7.96
19 | 63 KVA,11/0.4KV( Al) BIS Energy Level -II | No. | 4 | 14 |  |  |  | 10 | 4 |  |  | 1 | 1 | 5 |  | 5 | 12 | 3 | 59
20 | 7/10 SWG Stay wire | Kg. | 190 | 1620 | 90 | 170 |  | 1380 | 290 | 130 |  | 40 | 860 | 1100 | 20 | 900 | 1200 | 700 | 8690
21 | 7/12 SWG Stay Wire | Kg | 390 | 6430 | 480 | 950 | 1380 | 2340 | 1010 | 720 | 110 | 830 | 890 | 1370 | 290 | 7500 | 4390 | 3220 | 32300
22 | 75x40x6mm GI channel | Kg | 400 | 4184 | 254 | 380 |  | 3095 | 724 | 286 |  | 91 | 1467 | 2087 | 76 | 2086 | 2703 | 1493 | 19326
23 | AB Cable(1 *35+1*25mm2) | Km |  | 65.2352 |  | 14.6877 | 25.2979 | 27.764 | 10.45 | 13.134 | 1.991 | 7.887 | 4.983 | 5.83 | 1.914 | 79.2931 | 42.9937 | 21.5266 | 322.9872
24 | AB Cable(4*50+1*50+1*16mm2) | Km | 7.0125 | 52.5003 | 8.7423 | 2.5058 |  | 14.993 | 7.92 |  |  | 7.04 | 11.11 | 19.195 | 3.168 | 58.014 | 37.29 | 37.2966 | 266.7874
25 | Painting of 11 mtr 150x 150 mm RS joist (2 coat of Aluminium paint ,1 coat of red oxide paint and 1 coat of black paint of 1/6th of length of Joist pole) | No. | 8 | 94 | 6 | 8 |  | 64 | 16 | 6 |  | 2 | 24 | 38 | 2 | 44 | 56 | 30 | 398
26 | Anti Climbing Device made of GI barbed wire,Clamping arrangement etc.(2kg Per Support) | Kg | 56 | 357 | 15 | 45 |  | 387 | 68 | 34 |  | 9 | 324 | 375 |  | 242 | 336 | 206 | 2454
27 | Back Clamp for V Cross Arm -GI | No. | 23 | 145 | 6 | 18 |  | 157 | 28 | 14 |  | 4 | 131 | 152 |  | 98 | 136 | 84 | 996
28 | Barbed Fencing (size 15'x10' )with constn. of retaining wall ,erection of RCC fencing post, Sand filling and metal spreading, Fixing of Iron gril gate etc | No. | 4 | 47 | 3 | 4 |  | 32 | 8 | 3 |  | 1 | 12 | 19 | 1 | 22 | 28 | 15 | 199
29 | Dead End Clamp | No. | 64 | 1072 | 80 | 157 | 230 | 390 | 167 | 120 | 19 | 136 | 147 | 228 | 47 | 1249 | 730 | 536 | 5372
30 | Earthing of Support(Coil type) | No. | 60 | 715 | 48 | 102 | 115 | 390 | 118 | 77 | 10 | 73 | 236 | 303 | 24 | 746 | 534 | 371 | 3922
31 | GI Nut,Bolt & Washer of different sizes | Kg | 248 | 3019 | 199 | 333 | 230 | 1818 | 503 | 252 | 19 | 178 | 810 | 1180 | 83 | 2214 | 1978 | 1223 | 14287
32 | GI Pipe Earthing 40 Dia Medium gage 3 mtrs. Long | No. | 20 | 235 | 15 | 20 |  | 160 | 40 | 15 |  | 5 | 60 | 95 | 5 | 110 | 140 | 75 | 995
33 | HT Stay Clamp-GI | pair | 19 | 162 | 9 | 17 |  | 138 | 29 | 13 |  | 4 | 86 | 110 | 2 | 90 | 120 | 70 | 869
34 | HT Stay Insulator | No. | 19 | 162 | 9 | 17 |  | 138 | 29 | 13 |  | 4 | 86 | 110 | 2 | 90 | 120 | 70 | 869
35 | HT Stay Set(Complete) | Set | 19 | 162 | 9 | 17 |  | 138 | 29 | 13 |  | 4 | 86 | 110 | 2 | 90 | 120 | 70 | 869
36 | LT Distribution box including Kit kat fuse with MCCB for 100 KVA S/S | No. |  | 1 |  | 1 |  | 1 | [10 empty] | 3
37 | LT Distribution box including Kit kat fuse with MCCB for 25KVA S/S | No. |  | 32 | 3 | 3 |  | 21 | 4 | 3 |  |  | 11 | 14 | 1 | 17 | 16 | 12 | 137
38 | LT Distribution box including Kit kat fuse with MCCB for 63KVA S/S | No. | 4 | 14 |  |  |  | 10 | 4 |  |  | 1 | 1 | 5 |  | 5 | 12 | 3 | 59
39 | LT Stay Clamp(1.4Kg/pair) | Pair | 39 | 643 | 48 | 95 | 138 | 234 | 101 | 72 | 11 | 83 | 89 | 137 | 29 | 750 | 439 | 322 | 3230
40 | LT Stay Insulator | No. | 39 | 643 | 48 | 95 | 138 | 234 | 101 | 72 | 11 | 83 | 89 | 137 | 29 | 750 | 439 | 322 | 3230
41 | LT Stay Set Complete | Set | 39 | 643 | 48 | 95 | 138 | 234 | 101 | 72 | 11 | 83 | 89 | 137 | 29 | 750 | 439 | 322 | 3230
42 | Material cost for Concreting of RS Joist Pole 1.8mtrx0.5mtrx0.5mtr =0.45cum (PCC 1:2:4) | No. | 8 | 94 | 6 | 8 |  | 64 | 16 | 6 |  | 2 | 24 | 38 | 2 | 44 | 56 | 30 | 398
43 | Material cost for Concreting of Stay (1.65mtrx.3mtrx.3mtr=0.1485cum - PCC 1:2:4) | No. | 58 | 805 | 57 | 112 | 138 | 372 | 130 | 85 | 11 | 87 | 175 | 247 | 31 | 840 | 559 | 392 | 4099
44 | Neutral Connector | No. | 319 | 5353 | 398 | 782 | 1150 | 1944 | 835 | 597 | 91 | 679 | 732 | 1138 | 231 | 6242 | 3650 | 2675 | 26816
45 | No. 6 GI Wire | Kg. | 80 | 940 | 60 | 80 |  | 640 | 160 | 60 |  | 20 | 240 | 380 | 20 | 440 | 560 | 300 | 3980
46 | Piercing Connector | No. | 319 | 5353 | 398 | 782 | 1150 | 1944 | 835 | 597 | 91 | 679 | 732 | 1138 | 231 | 6242 | 3650 | 2675 | 26816
47 | Pole Clamp for Eye Hook | Pair | 160 | 2677 | 199 | 391 | 575 | 972 | 418 | 299 | 46 | 340 | 367 | 570 | 116 | 3122 | 1826 | 1338 | 13416
48 | Sundries for survey, tree cutting,binding tape, Danger Board,Marking, socket etc. | LS | 13 | 164 | 12 | 23 | 23 | 82 | 28 | 16 | 2 | 17 | 36 | 52 | 6 | 154 | 110 | 74 | 812
49 | Suspension clamp | No. | 96 | 1606 | 120 | 236 | 345 | 584 | 251 | 180 | 28 | 204 | 220 | 342 | 71 | 1874 | 1096 | 803 | 8056